TEA RESEARCH ASSOCIATION

Tocklai Tea Research Institute

CINNAMARA, JORHAT-785 008, ASSAM, INDIA

Ph.-91-376-2360973 / 2360974 / 2360475 Fax:  91-376-2360474, e-mail: administration.tocklai@tocklai.net, Web: www.tocklai.net

Ref:3622/TOK/G.21/ 863                                                                                   23rd September 2021

CORRIGENDUM

Ref: Tender No. TRA-Tocklai/21-22/T-01 Dated 21.09.2021

The technical specification for LC-MS/MS (Triple Quadrupole) mentioned under Sensitivity earlier as ‘S/N ration greater than 100000:1 both in MRM ESI +ve and MRM ESI –ve’ should now be read as ‘S/N ration greater than 300000:1 both in MRM ESI +ve and MRM ESI –ve’.

The technical specification for GC-MS/MS (Triple Quadrupole) mentioned under EI MRM sensitivity earlier as ‘S/N ≥ 20000: 1 or better with 1μL of 100 fg Octafluoronaphthalene (OFN)’ should now be read as ‘S/N ≥ 30000: 1 or better with 1μL of 100 fg Octafluoronaphthalene (OFN)’.

The technical specification for GC-MS/MS (Triple Quadrupole) mentioned earlier as ‘Quick change over EI/CI mode’ in the Ion Source and ‘Easy and quick change over from EI or CI Should allow system to withstand carrier gas flow rate as suitable to application and intended use’, was a typographical error and should be ignored.

All other Terms & Conditions, Specifications etc will remain the same.

DIRECTOR

Registered Office: Tea Research Association, 113 Park Street , Kolkata - 700 016 , INDIA Ph : 91-033-22291815, 22297943, Fax : 91-033-22294271, Web : www.tocklai.net