Ref:3622/TOK/G.22/ June 27, 2022

**CORRIGENDUM**

**Ref. Tender No. TRA-Tocklai/22-23/T-02 Dated 17.06.2022**

With reference to the Tender Notification as mentioned hereinabove published in the news papers and uploaded in the official website [www.tocklai.org](http://www.tocklai.org), the following Corrigendum is hereby made in Annexure-A:

**Annexure – A**

**SPECIFICATIONS OF EQUIPMENTS/ INSTRUMENTS**

|  |  |  |  |
| --- | --- | --- | --- |
| **Sl. No.** | **Items** | **Unit No.** | **Revised Specifications** |
| 1. | **Lyophilizer** | 01 | **Standard make:** Ice Holding Capacity: 2liters, Cold Trap Temperature: -86° CDrying chamber size: Ø160 x 230mm, Cylindrical made of thick gauge 304 Grade Stainless Steel, 4 port for drying with 4 quick seal  valves. Cold trap size:160mm x 100mm, cylindrical, made of thick gauge 304 grade stainless steel, External Vacuum Pump: 2 stage direct driveVacuum Indication: Pirani gaugeVacuum Level: 0.5 to 0.002 mbarMicroprocessor based controller with Digital Display, PT 100 sensorTemperature resolution: 1° CControls: Refrigeration ON/OFF, Vacuum ON/OFFExterior: Powder coated mild steel.Built In CFC free refrigeration system Cascade Refrigeration SystemFacility for water drain2nos of 250ml conical flask, cork, and glass adaptors included with  the supplyPower supply: 230 V, 50 Hz, single phase |
| 2. | **Digital Lab Balance**  | 01 | **Standard make:** High Precision Lab, Scale (3 digit after decimal) Vibration resistant |
| 3. | **pH Meter** | 01 | **Standard make:** 3 Point calibration, Stability : 0.002 pH per hour Accuracy : + 1mV + 1 Digit,Temperature Compensation : Auto/Mnual mV Range : 0 to +1999.9 mV Accessories : (i) pH Electrode (Combined) (ii) Temperature Probe (PT 100 Sensor) (iii) Electrode Stand & Clamp/ Beaker.  |
| 4. | **Digital Outdoor Weighing Balance** | 01 | **Standard make:** Capacity 10 Kg |

**Last date of issue/receipt of tenders is extended to: 21.07.2022 up to 5.00 p.m.**

**All other Terms & Conditions of Tender No. TRA-Tocklai/22-23/T-02 Dated 17.06.2022 will remain the same.**

 **DIRECTOR**